**FRESCOLORI Ruse**

Delivery and servicing surfaces exclusively by trained FRESCOLORI processing specialists, with a long-term guarantee of high quality.

Warm, natural and structured - our surface Ruse. The calm and soft surface gives a gentle feeling of comfort.

**FRESCOLORI Ruse**

Material: 1 CM7 layer

1 CM0 layer

Consumption: CM7 about 1.5 kg/m² each layer

CM0 about 0.2 kg/m² each layer

Colour : freely selectable

Application: Indoor

Surfaces are prepared and primed.

* Application of the first layer of the Caramor limestone-marble plaster, in grain thickness 7r
* Observe the waiting times, with a rest period until the first layer is dry.
* Application of the second layer of the Caramor limestone-marble plaster, in grain thickness 0, in tighter execution in all directions
* Observe a shorter wait period
* Polish the surface with a trowel